## Slide 1: Alternative Airways
Endotracheal Tubes and Laryngeal Masks

## Slide 2: Objectives
Indications for alternative airways
Selection and preparation of Equipment
How to use a laryngoscope
How to determine if endotracheal tube is in trachea
When to consider using a laryngeal mask for PPV
How to place a Laryngeal mask

## Slide 4: When should alternative airway be considered/recommended?
If PPV with a face mask does not result in clinical improvement
If PPV lasts more that a few minutes
Chest compressions are necessary
  Suspected diaphragmatic hernia
  Surfactant administration
  Direct tracheal suction if airway obstructed with meconium or blood

## Slide 5: Anatomic Landmarks in Neonatal airway

## Slide 6: Equipment needed for airway insertion
Laryngoscope handle
Laryngoscope blades: No 1, 0, 00
Endotracheal tubes: 2.5, 3.0, 3.5 mm
Stylet
CO2 monitor/detector
Suction
Tape, scissors
Meconium aspirator
Stethoscope
PPV device
Pulse oximeter
Laryngeal mask and 5ml syringe

## Slide 8: Endotracheal Intubation
Blade and tube size
  Term newborns- No 1 blade
  Preterm newborns- No 0 or 00 blade
Tube size
  < 1Kg, or < 28 wks: 2.5 mm ID
  1Kg – 2 Kg or 28-34 wks: 3.0 mm ID
  > 2 Kg or > 34 wks: 3/5 mm ID
Suction equipment: catheter 5-8 F
PPV device
CO2 detector, stethoscope, measuring tape or insertion depth table, tape, scissors

## Slide 9: Intubation – 30 seconds
Baby in sniffing position
Hold laryngoscope in left hand
Use right hand to open baby’s mouth
Insert laryngoscope and identify key landmarks
Lift laryngoscope in direction of handle
Insert endotracheal tube through vocal cords
Secure endotracheal tube, check depth
Attach PPV device and Ventilate
  Chest rise? Equal lung air entry?
Check correct position with CO2 detector
CXR

## Slide 11: Check Ventilation after ET intubation
Chest rises?
Equal lung air entry?
Heart rate increasing?
C02 device turning color yellow?

## Slide 16: Laryngeal Mask Indications
Cannot ventilate
Cannot intubate
  Congenital abnormalities mouth, lip, tongue, palate, neck
  Small mandible, large tongue
Airway device that is alternative to face mask or endotracheal tube

## Slide 17: Laryngeal mask (LMA) placement
Mask inserted into baby’s mouth and advanced until tip nearly reaches the esophagus
Inflate cuff
Mask covers the glottis (laryngeal opening) like a cap
Inflated cuff creates a seal against the hypopharynx
Airway tube can be connected to PPV device
Positive pressure is transmitted to baby’s trachea
Size 1 LMA for use in newborns < 5kg

## Slide 22: Check ventilation after LMA insertion
Chest rises?
Equal lung air entry?
Heart rate increasing?
C02 device turning color yellow?

## Slide 23: Case scenario
Become familiar with ET and LMA equipment
Case